## Report
Office No. 1031, Wing J, Akshar Business Park, Plot No. 03 Sector 25, Near APMC Market, Vashi, Navi Mumbai, Maharashtra 400703 TEL: 022-46090378/79/80 E mail : vsjcapf@gmail.com. Web site : www.vsjadon.com
Valuation Report
Date: |  |  |  | 17/07/2025
CPC Name: |  |  |  | Axis Thane
Date Of Property Visit |  |  |  | 2025-07-09
Name of the builder group |  |  |  | Vighneshwar Co-op Housing Society Limited
Name of the builder company |  |  |  | Vighneshwar Co-op Housing Society Limited
Name of the Project |  |  |  | Vighneshwar Cooperative Housing Society
Provided Contact Details (Name & Contact No.) |  |  |  | Mr. Ajit Hatwal : 9820461998
Site Person - Contact Details (Name & Contact No.) |  |  |  | Mr. Patel (Site supervisor) : 7021339039
Name / No of the Building |  |  |  | Vighneshwar CHS
Name / No of the Existing Building | [12 empty] | Thane | Palghar | Mumbai | Raigad | Pune | Raigad | #VALUE!
Docouments Provided |  |  |  | Approved Plans, CC, Cost Sheet | [8 empty] | Thane | Mokhada | Andheri | Alibag | Pune City
RERA No. |  |  |  | P51800012941 |  |  |  | #N/A |  |  |  |  | Shahpur | Talasari | Borivali | Panvel | Haveli
Project location details |  | Vighneshwar Cooperative Housing Society, CTS No.227A & 227B (i.e. Sub divided plot of land bearing CTS no. 194 (Pt)), CTS No. 226 (i.e. Sub divided plot of land bearing CTS No. 194 A/11), near Bhakti Prem Apartment, Shanti Path Road, Praja Society, Barrister Nath Pai Nagar, Ghatkopar, Ghatkopar (East), Kurla, Mumbai - 400077. | [10 empty] | Kalyan | Vasai | Kurla | Uran | Khed
CTS No |  | 227A & 227B (i.e. Sub divided plot of land bearing CTS no. 194 (Pt)), CTS No. 226 (i.e. Sub divided plot of land bearing CTS No. 194 A/11) | [10 empty] | Bhiwandi | Vikramgad |  | Karjat | Baramati
Locality |  | Praja Society, Barrister Nath Pai Nagar | [10 empty] | Ulhasnagar | Palghar |  | Khalapur | Junnar
Road |  | Shanti Path Road |  | Locality/Village |  | Ghatkopar | [6 empty] | Ambernath | Dahanu |  | Pen | Shirur
City |  | Ghatkopar (East) |  | District |  | Mumbai | [6 empty] | Murbad | Wada |  | Sudhagad | Indapur
Taluka |  | Kurla |  | Pin Code |  | 400077 | [9 empty] | Mahad | Daund
Nearby Landmark |  | Bhakti Prem Apartment |  | Distance from city centre: |  | 1.9 KM from Vidyavihar Railway Station | [9 empty] | Roha | Mawal
Accessibility to the Project from the City: (Proximity to civic amenities like school, hospital, market, etc.) |  |  |  | all available at 1 to 2 km. | [11 empty] | Mangaon | Ambegaon
[16 empty] | Poladpur | Purandhar
Does property have Electricity / Water / Drainage Connection |  |  |  | Yes | [11 empty] | Mahasala | Bhor
Class of locality |  |  |  | Upper Class | [11 empty] | Shriwardhan | Mulshi
Nature of land with topographical condtion |  |  |  | Plane | [11 empty] | Murud | Velhe
Nature of the locality |  |  |  | Developed
Quality of infrastructure in vicinity |  |  |  | Good
Type of Structure |  |  |  | RCC Frame Structure
Approved usage of the Property: |  |  |  | Residential
Restrictive Covenants in regard to Land Use |  |  |  | No
Boundries |  | As per Layout |  |  | At site
East | NA | 18.3M Wide Road |  |  | Shanti Path Road
West | NA | Other Plot |  |  | Bhakti Prem Apartment
North | NA | Other Plot |  |  | Nath Pai Nagar Lane
South | NA | Existing Road |  |  | Shanti Path Road
Does the boundaries at site match, as mentioned in the Docoumentation: NA
Latitude, Longitude |  | 19.0728626,72.9081423
Location Link |  | https://goo.gl/maps/7N37NUy5mjLVHyy89
Area Statement Details :
Total land area of the project in Sq. Mt. |  |  |  | 1073
Permissible FSI |  |  |  | 1
Permissible TDR/Paid FSI |  |  |  | 1.4
Total FSI availaible for the project |  |  |  | 2.4
Total Approved Builtup area of the project (Sq.Mt) |  |  |  | 2575.2
Total number of Buildings |  |  |  | 01 Building
Approval Detail : Plan approval
Name of Municipal Corporation/Authority |  | Municipal Corporation of Greater Mumbai
Layout Approval No |  | CHE/ES/0852/N/337 (NEW) |  |  | Dated | 30/05/2024.
Approved Floor plan No. |  | CHE/ES/0852/N/337 (NEW) |  |  | Dated | 30/05/2024.
Commencement-CC No Valid Up to: |  | CHE/ES/0852/N/337(NEW)/FCC/3/Amend |  |  | Dated | 2025-04-21
|  | Full C.C. as per the approved amended plans dated 30.05.2024. |  |  | Valid Upto Date | 2025-12-04
O. Certificate No.: |  | NA Approved upto : NA |  |  | Dated | NA
Building wise Construction details
Approved area of building (Sq.Mt) |  |  | 2575.2
Approved no of units |  |  | Flats - 53, Library - 1
Approved no of Floors |  |  | Gr/Stilt + 1st to 2nd Podium (Pt) + 3rd Service + 4th to 20th Floor
Proposed no of Floors |  |  | Gr/Stilt + 1st to 2nd Podium (Pt) + 3rd Service + 4th to 20th Floor
Expected Completion |  |  | As per RERA - 31/12/2025
Projected life of the structure |  |  | 60 Years After Completion
Quality of construction: |  |  | Good
Proposed Amenities : |  |  | Gymnasium, Fire fighting system, Kids play area, Security access, Kids Fun Area
Violations Observed if any : |  |  | NA
Material laying at Site: |  |  | Cement, Aggregate, Steel, etc
Wheather the construction is as per approved Building plan : |  |  | Under Construction |  | Under Construction
Construction details: |  | Gr/Stilt + 1st to 2nd Podium (Pt) + 3rd Service + 4th to 20th Floor | [5 empty] | Excavation, Plinth Completed, RCC upto 19 Slab, Brickwork upto 15 Floor, Internal Plaster upto 13 Floor, External Plaster upto 9 Floor Completed | , RCC upto 19 Slab, Brickwork upto 15 Floor, Internal Plaster upto 13 Floor, External Plaster upto 9 Floor
Basement | 0 | Ground | 1 | Podium | 0 | Floors | 20 | Excavation, Plinth
Stage of construction: |  | Excavation, Plinth Completed, RCC upto 19 Slab, Brickwork upto 15 Floor, Internal Plaster upto 13 Floor, External Plaster upto 9 Floor Completed | [5 empty] | Completed | Completed
Type of Work |  | Slab/Floor | Complition % | Progress % |  | Disbursement % |  | Piling Work in process | 5
Excavation |  | 20 | 100% | 61.19% |  | 81.39% |  | Excavation in process | 10
Plinth |  | 20 | 100% |  |  |  |  | Excavation Completed | 20
RCC (Including podiums) |  | 19 | 90.48% |  |  |  |  | Footing in Process | 5
Brickwork | Brickwork & Internal Plaster | 15 | 75% |  |  |  |  | Footing Completed | 10
Internal Plaster | Brickwork & Internal Plaster | 13 | 65% |  |  |  |  | Basement 1 | 0
Ext. Plaster & Plumbing | External Plaster & Plumbing | 9 | 45% |  |  |  |  | Basement 2 | 0
Flooring & Fitting | Flooring & Fitting | 0 | 0% |  |  |  |  | Basement 3 | 0
Painting & Wooden |  | 0 | 0% |  |  |  |  | Basement 4 | 0
Building Common Amenities | Building Common Amenities | 0 | 0% |  |  |  |  | Plinth in process | 15
Possession |  | 0 | 0% |  |  |  |  | Plinth completed | 20
Recommended Rates of the Property : |  |  |  |  | On Saleable Area |  |  |  | Cost Sheet | Inspection | MIS | Online
Recommended rate of the Flat Per Sq. Ft. |  |  |  |  | 19500 |  |  | 20858.9953 | 20433.7938 | 23333.3333 | 20000 | 19668.854
Recommended rate of the 1st Floor Commercial Per Sq. Ft. |  |  |  |  | 22500
Recommended rate of the Office Per Sq. Ft.
Floor Rise Rate from Floor
Development Charges
Club Charges
Gas Connection Charges
Municipal Charges (Water Meter Charges, Electricity Meter Charges, LUC) |  |  |  |  | 450000
Society Fees |  |  |  |  | 25000
Advance Maintenance Charges (For 6 Months) |  |  |  |  | 60000
Recommended rate of Parking |  |  |  |  | 800000
Distressed valuation of the Property |  |  |  |  | 15600
Commercial Area Details :
Building & Wing |  | No. of Units |  | Total Carpet Area |  | Total Saleable Area
Total
Residential Area Details :
Building & Wing |  | No. of Units |  | Total Carpet Area |  | Total Saleable Area
Flats |  | 53 |  | 33409.6261 |  | 51784.9205
Total |  | 53 |  | 33409.6261 |  | 51784.9205
Grand Total |  | 53 |  | 33409.6261 |  | 51784.9205
Building details Floor Wise
Details of Residential in Building
Shop No. (Approved Plan) | Shop No. (Sale Plan) | Description | Gross Carpet area | Attached Loft area | Saleable area Loading : | Floor
45%
Ground Floor
1 |  |  |  | 0 | 0 | Ground Floor
2 |  |  |  | 0 | 0 | Ground Floor
3 |  |  |  | 0 | 0 | Ground Floor
4 |  |  |  | 0 | 0 | Ground Floor
Flat No. (Approved Plan) | Flat No. (Sale Plan) | Description | Gross Carpet area | Attached Terrace area | Saleable area Loading : | Floor
55%
Ground Floor for Residential & Parking
1 |  | MP Room | 229.3808 | 0 | 355.5403 | Ground Floor for Residential & Parking |  | 21.2701 | 10.764
2 |  | MP Room | 264.7944 | 0 | 410.4313
1st Floor for Library & Parking
1 |  | Library | 802.13 | 0 | 1243.3015 | 1st Floor
2nd Floor for Fitness Center, Society Office & Parking
3rd Service Floor
4th & 5th Floor for Residential
1 |  | 2BHK | 654.5588 | 0 | 1014.5662 | 4th & 5th Floor for Residential | [5 empty] | 18234.3941
2 |  | 2BHK | 671.8889 | 0 | 1041.4278 |  |  |  | 18858.7252 |  |  | 19108.3824
3 |  | 1RK | 330.2395 | 0 | 511.8713
4 |  | 1RK | 329.486 | 0 | 510.7034 |  |  |  | 22008.8624
6th, 7th & 9th to 14th & 16th to 20th Floor
1 |  | 2BHK | 654.5588 | 0 | 1014.5662 | 6th, 7th & 9th to 14th & 16th to 20th Floor
2 |  | 2BHK | 671.8889 | 0 | 1041.4278 | [6 empty] | 22085.0651
3 |  | 2BHK | 670.3819 | 0 | 1039.092
8th Floor (Part Refuge Area)
1 |  | 3BHK | 777.8066 | 0 | 1205.6003 | 8th Floor (Part Refuge Area)
2 |  | Refuge Area
3 |  | 2BHK | 670.3819 | 0 | 1039.092 | [6 empty] | 19247.5743
15th Floor (Part Refuge Area)
1 |  | 3BHK | 865.7485 | 0 | 1341.9102 | 15th Floor (Part Refuge Area)
2 |  | Refuge Area
3 |  | 2BHK | 670.3819 | 0 | 1039.092
2nd Floor
201 |  |  |  | 0 | 0 | 2nd Floor
202 |  |  |  | 0 | 0 | 2nd Floor
203 |  |  |  | 0 | 0 | 2nd Floor
204 |  |  |  | 0 | 0 | 2nd Floor
205 |  |  |  | 0 | 0 | 2nd Floor
3rd, 5th, 7th, 9th, 11th, 13th, 15th Floor
301 ,.., 1501 |  |  |  | 0 | 0 | 3rd, 5th, 7th, 9th, 11th, 13th, 15th Floor
302 ,.., 1502 |  |  |  | 0 | 0 | 3rd, 5th, 7th, 9th, 11th, 13th, 15th Floor
303 ,.., 1503 |  |  |  | 0 | 0 | 3rd, 5th, 7th, 9th, 11th, 13th, 15th Floor
304 ,.., 1504 |  |  |  | 0 | 0 | 3rd, 5th, 7th, 9th, 11th, 13th, 15th Floor
305 ,.., 1505 |  |  |  | 0 | 0 | 3rd, 5th, 7th, 9th, 11th, 13th, 15th Floor
2nd to 5th Floor
201 to 501 |  |  |  | 0 | 0 | 2nd to 5th Floor
202 to 502 |  |  |  | 0 | 0 | 2nd to 5th Floor
203 to 503 |  |  |  | 0 | 0 | 2nd to 5th Floor
204 to 504 |  |  |  | 0 | 0 | 2nd to 5th Floor
205 to 505 |  |  |  | 0 | 0 | 2nd to 5th Floor
2nd & 5th Floor
201 & 501 |  |  |  | 0 | 0 | 2nd & 5th Floor
202 & 502 |  |  |  | 0 | 0 | 2nd & 5th Floor
203 & 503 |  |  |  | 0 | 0 | 2nd & 5th Floor
204 & 504 |  |  |  | 0 | 0 | 2nd & 5th Floor
205 & 505 |  |  |  | 0 | 0 | 2nd & 5th Floor
Remarks:
1 | Work is same as last visit (09/04/2025).
2 | We have considered Saleable area of Flats as per our Calculation.
3 | We considered Carpet area as per Approved Plan.
4 | We considered Gross carpet area = Net carpet.
5 | We have considered proposed No. of Floor for Stage Calculation.
6 | We have considered rate by verifying it from market inquire.
7 | Recommended rate should be considered as all inclusive rate if other charges are not mentioned. (Excluding GST & other government Taxes)
8 | Car parking is subjected to authentic documentation.
9 | Validity of CC is expired on 04/12/2022. Please provide latest CC.
9 | As per MCGM & Architecture letter, Library on 1st floor which is considered as commercial user as premiums are recovered with respect to commercial user and including the consideration of parking. Letters are attached below.
10 | Please provide latest approved plans (if available)
10 | We have updated latest approved floor plans & CC (On 27/06/2024).
11 | We have updated latest CC from MCGM site (On 17/07/2025).
Undertaking :
1) We have personally visited the property & identified the same based on the documents provided.
2) I/We have no direct or Indirect Interest in the property being valued
3) The information furnished above is true and correct to my/our knowledge.
4) Legal title of the property is not verified by us.
5) Gross carpet area = Net Carpet area + Fungible area.
6) Fungible Area= Enclosed Balcony + Flower Bed + Covered Balcony + Service Slab + Duct + Chajja + Wheather Shed area.
Inspected By : |  | Akash Kadam |  | Report By : |  | Pooja Kawale
Authorized Signatory Name & Seal of the agency
PHOTOGRAPHS OF PROPERTY : |  |  | Vighneshwar Cooperative Housing Society
Layout :
Remark No. 10 - MCGM Letter
Remark No. 10 - Architecture Letter
Google Map :
Note on E11: Sachin: Building No. Tower No. Wing Bunglow No., etc
Note on E12: Sachin: If exisiting Building is provided write it or else NA
Note on D55: Sachin: If multiple building in project or complex just mention builtup of required building

## valuation
Market Research Data
Source | Distance from proposed property | Flat | Net Carpet | Saleable Area | Rate on Saleable | Market Value
Magic Brick |  |  |  | 0 | #DIV/0!
Magic Brick |  |  |  | 0 | #DIV/0!
Magic Brick |  |  |  | 0 | #DIV/0!
Magic Brick |  |  |  | 0 | #DIV/0!
Magic Brick |  |  |  | 0 | #DIV/0!
99 Acres |  |  |  | 0 | #DIV/0!
99 Acres |  |  |  | 0 | #DIV/0!
Average |  |  |  |  | #DIV/0!
Valuation Adopted

## Research
[6 empty] | 1 | 2
District | Thane | Palghar | Mumbai | Raigad | Pune | Raigad | Borivali
| Thane | Mokhada | Andheri | Alibag | Pune City
| Shahpur | Talasari | Borivali | Panvel | Haveli
| Kalyan | Vasai | Kurla | Uran | Khed
| Bhiwandi | Vikramgad |  | Karjat | Baramati
| Ulhasnagar | Palghar |  | Khalapur | Junnar
| Ambernath | Dahanu |  | Pen | Shirur
| Murbad | Wada |  | Sudhagad | Indapur
|  |  |  | Mahad | Daund
|  |  |  | Roha | Mawal
|  |  |  | Mangaon | Ambegaon
|  |  |  | Poladpur | Purandhar
|  |  |  | Mahasala | Bhor
|  |  |  | Shriwardhan | Mulshi
|  |  |  | Murud | Velhe
Approved Plans, CC, Sale Plans, Builder Saleable Area, Cost Sheet, Airport Noc, Railway Noc, OC
Approved Plans, CC
Approved Plans, CC, Sale Plans
Approved Plans, CC, Sale Plans, Builder Saleable Area
Approved Plans, CC, Sale Plans, Builder Saleable Area, Cost Sheet,
Approved Plans, CC, Builder Saleable Area,
Approved Plans, CC, Sale Plans, Builder Saleable Area, Cost Sheet, Airport Noc, Railway Noc, OC